## Sheet1
HERA PARAMETERS - SCPI COMMANDS
PARAMETERS | INTERNAL MEMORY |  | EEPROM |  | OBSERVATIONS
| QUERY | WRITE | QUERY | WRITE
Auto-range | :SENSe:SP:AUTORANGE? | :SENSe:SP:AUTORANGE Auto-range | :EEPROM:CONFigure:AUTORANGE? | :EEPROM:CONFigure:AUTORANGE Auto-range | Command in manual is wrong
Int. time | :SENSe:INT? | :SENSe:INT Int.time | :EEPROM:CONFigure:SPINT? | :EEPROM:CONFigure:SPINT Int. time | EEPROM command is not documented in manual
Averaging | :SENSe:SP:AVERAGE? | :SENSe:SP:AVERAGE Avg | :EEPROM:CONFigure:SPAVG? | :EEPROM:CONFigure:SPAVG Avg | EEPROM command is not documented in manual
Adj. min | ??? | ??? | :EEPROM:CONFigure:AUTO:ADJMIN? | :EEPROM:CONFigure:AUTO:ADJMIN Adj.min
Frequency | ??? | ??? | :EEPROM:CONFigure:AUTO:FREQ? | :EEPROM:CONFigure:AUTO:FREQ Frequnecy
Max. Int. time | ??? | ??? | :EEPROM:CONFigure:AUTO:MAXINT? | :EEPROM:CONFigure:AUTO:MAXINT Max.int | Command in manual is wrong
Resolution | ??? | :SENSe:RESolution Resolution | :EEPROM:CONFigure:RES? | :EEPROM:CONFigure:RES Resolution | Why is only a write command?
Interp. Method | :SENSe:INTERPOL? | :SENSe:INTERPOL Interpolation | :EEPROM:CONFigure:INTERPOL? | :EEPROM:CONFigure:INTERPOL Interpolation
Std. Illuminant | ??? | ??? | :EEPROM:CONFigure:WHITE? | :EEPROM:CONFigure:WHITE White point
Absolute calibration mode (factory/user) | ??? | ??? | :EEPROM:CONFigure:USERABS? | :EEPROM:CONFigure:USERABS Calibration
Calibration matrix SP SBW (off/user) | ??? | :SENSe:SP:SBW Matrix | :EEPROM:CONFigure:SPSBW? | :EEPROM:CONFigure:SPSBW Matrix | Parameters in the manual are wrong, correct is 0/1 Why is only a write command?

## CS
Colourspace Pro 1.0.1.2241
PARAMETERS | CONNECT | MODIFY | DISCONNECT
Auto-range | Reads from EEPROM | Writes to EEPROM | Does nothing
Int. time | Reads from Internal memory | Writes to Internal memory | Writes last value to Internal memory - WHY???
Averaging | Reads from Internal memory | Writes to Internal memory | Writes last value to Internal memory - WHY???
Adj. min | Reads from EEPROM | Writes to EEPROM | Writes last value to EEPROM - WHY???
Frequency | Reads from EEPROM | Writes to EEPROM | Writes last value to EEPROM - WHY???
Max. Int. time | Reads from EEPROM | Writes to EEPROM | Writes last value to EEPROM - WHY???
Resolution | ??? | ??? | ???
Interp. Method | Reads from Internal memory | Writes to Internal memory | Does nothing
Calibration matrix SP SBW (off/user) | ??? | ??? | ???

## Sheet4
AUTO-RANGE SCPI COMMAND
| What it does now | What it should do
CONNECT | :EEPROM:CONFigure:AUTORANGE? | :SENSe:SP:AUTORANGE?
MODIFY | :EEPROM:CONFigure:AUTORANGE autorange | :SENSe:SP:AUTORANGE autorange
DISCONNECT | --- | ---